Aravali College of Engineering and Management, Faridabad

Observation Summary – ME Labs 5S Audit (05/08/2025)

1. Common Strengths Across All Labs

- Sorting (Seiri):

  - Broken/obsolete machinery removed.

  - Expired lubricants/chemicals cleared.

  - Scrap materials disposed of.

  - Personal items removed from work areas.

- Shining (Seiso):

  - Machinery and equipment are cleaned daily.

  - Oil-free floors maintained.

  - Safety equipment kept clean and accessible.

  - Regular equipment maintenance schedule implemented in most labs.

- Standardizing (Seiketsu):

  - Visual management systems implemented.

  - Maintenance standards for equipment set.

- Sustaining (Shitsuke):

  - Procedures reviewed and updated quarterly.

2. Common Non-Conformities / Improvements Required

- Labeling of Equipment and Machinery:

  - Often marked as “Partial” or “Required” across labs.

- Shadow Boards for Hand Tools:

  - Marked “Not Applicable” in most labs, but absence noted.

- Standard Operating Procedures (SOPs):

  - Not available in all labs (marked “NO”).

- Cleaning Schedules & Responsibilities:

  - Not established in any lab.

- Safety Protocols & Guidelines:

  - Required in multiple labs.

- Recognition & Reward System for 5S Practices:

  - Required in all labs.

- Regular 5S Audits & Training:

  - Required/Partial in most labs.

3. Lab-Specific Remarks

- Dom Lab:

  - Equipment elimination required (Cooling Tower).

  - Storage areas for raw materials not available.

  - SOPs missing.

  - Cleaning schedules missing.

- Thermal Lab-II:

  - Similar to Dom Lab; labeling partial, SOPs missing.

  - Clean machinery daily – partial in some areas.

- SOM Lab:

  - Labeling partial.

  - SOPs missing.

  - Cleaning schedules missing.

- Workshop:

  - Multiple items “Required” (broken equipment, labeling, SOPs).

  - Some areas are not available in all shops.

  - Cleaning schedules missing.

4. Overall Recommendation

- Immediate focus on preparing and implementing SOPs for each lab.

- Label all equipment and machinery with proper tags.

- Prepare and follow cleaning schedules with assigned responsibilities.

- Introduce recognition/reward system to encourage good 5S practices.

- Conduct training sessions for all lab users on 5S principles.

- Establish shadow boards for tools where applicable.