Aravali College of Engineering and Management, Faridabad

Institutional 5S Audit Observation & Recommendation Report

Audit Period: 05–08 August 2025

Institutions Covered: Aravali College of Engineering and Management – All Departments & Labs

Audit Conducted By: Internal Quality Assurance Cell (IQAC)

## 1. Common Strengths Across All Labs

- Most obsolete/damaged equipment identified and removed.

- Expired chemicals, unused materials, and scrap largely cleared in several labs.

- Personal items generally absent from workstations.

- Workstations and furniture arranged for optimal workflow in most labs.

- Proper ventilation systems operational in many labs.

- Clean floors, dust-free surfaces, and sanitized tools/devices in regular use.

- Calibration and preventive maintenance performed in several labs.

- Basic visual management and signage in place in some labs.

- Hardware maintenance schedules defined in certain areas.

- Some labs conduct periodic reviews of procedures.

- Staff generally aware of 5S principles.

## 2. Common Non-Conformities / Improvements Required

- Inconsistent or missing labeling of tools, equipment, computers, and storage bins.

- Many labs lack documented and displayed SOPs for key processes.

- No standardized daily/weekly cleaning schedules; vent and filter cleaning often partial.

- Chemical/material handling guidelines, electrical safety protocols, and fire extinguisher readiness missing in several labs.

- Cable management absent in most CSE labs; shadow boards missing in Civil and ME labs.

- Equipment calibration schedules, usage logs, and preventive maintenance records incomplete or missing.

- Missing backup procedures, software installation standards, and licensing compliance in CSE labs.

- No feedback mechanism or recognition/reward system for sustaining 5S practices.

## 3. Department / Lab-Specific Observations

- Mechanical Engineering (ME)

- Several labs are missing SOPs, labeling, and cleaning schedules.

- Shadow boards mostly absent; recognition/reward system required.

- Civil Engineering

- Common issues: disposal of expired materials, creation of designated storage, SOP gaps.

- Tool organization and labeling inconsistent.

- Applied Science (Physics & Chemistry Labs)

- SOPs and cleaning schedules missing.

- Inconsistent labeling and audit follow-up system absent.

- Electronics & Communication Engineering (ECE)

- Component labeling partial or missing; calibration schedules not implemented in most labs.

- Usage logs and safety reviews required.

- Computer Science Engineering (CSE)

- Major gaps in cable/power management, labeling, and cleaning of vents/filters.

- Missing computer usage guidelines, installation standards, and backup protocols.

## 4. Overall Institutional Recommendations

- Label all equipment and tools – introduce a standard labeling policy for every lab.

- Implement SOPs – prepare, approve, and visibly display SOPs for all critical processes.

- Establish cleaning schedules – assign responsibilities, maintain checklists, and ensure periodic audits.

- Enhance safety measures – chemical/electrical safety protocols and fire extinguisher checks.

- Improve cable & tool management – use cable ties, defined routing, shadow boards, and organized storage bins.

- Maintain records – calibration schedules, usage logs, and preventive maintenance records.

- Standardize IT practices in CSE labs – installation standards, usage guidelines, backup procedures, and licensing compliance.

- Establish recognition & feedback systems – encourage suggestions and reward high 5S compliance.

- Conduct regular 5S training – ensure all faculty, staff, and students understand and follow the methodology.